## Quad Systems
(Up to 2 x Quad systems)
Site/Store Name | TBC
Site Address | TBC
Commissioning Date | TBC
Installation company | TBC
Address | TBC
Telephone | TBC
e-mail | TBC
Commissioning Engineer | TBC
Certificate Number | TBC
Local Controller Model | TBC
Local Controller location | TBC
Sub controller model and location | TBC
Central Controller Model | TBC
Weekly Timer model | TBC
Time switch settings | TBC
Network cable (used with Central Controller) | TBC
Room sensor used? Location? | Yes / No
Configured for auto restart? | TBC
Configured for controller temp. sensor? | TBC
Indoor number | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4
Indoor unit make/model details | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Indoor serial number | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Indoor location or reference | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Outdoor unit make/model details | TBC |  |  |  | TBC
Outdoor serial number | TBC |  |  |  | TBC
Outdoor location or reference | TBC |  |  |  | TBC
Distribution board reference | TBC |  |  |  | TBC
Fuse size and type | TBC |  |  |  | TBC
Network address set from….. | TBC |  |  |  | TBC
Support and insulation effective? | Yes No |  |  |  | Yes No
Condensate removal ok? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No
External pump fitted? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No
Protocol converter fitted? | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No
Outdoor unit energised for 12 hours? | Yes No |  |  |  | Yes No
Refrigeration circuit
Strength tested under F-gas legislation? | Yes No |  |  |  | Yes No
Leak tested under F-gas legislation? | Yes No |  |  |  | Yes No
Vacuum achieved? | TBC |  |  |  | TBC
Maintained for 30 minutes? | Yes No |  |  |  | Yes No
Refrigerant
Refrigerant type | TBC |  |  |  | TBC
Pipe Sizes (Main) | TBC |  |  |  | TBC
Pipe Sizes (Sub) | TBC |  | TBC |  | TBC |  | TBC
Pipe Sizes (Branch) | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Refrigerant circuit length - Main pipe | TBC |  |  |  | TBC
Refrigerant circuit length - Sub pipes | TBC |  | TBC |  | TBC |  | TBC
Refrigerant circuit length - Branch pipes | TBC | TBC | TBC | TBC | TBC | TBC | TBC | TBC
Additional refrigerant added | 0 |  |  |  | 0
Factory refrigerant charge (kg) | 0 |  |  |  | 0
Total system refrigerant charge (kg) | 0 |  |  |  | 0
Running tests (C/H) @ test condition | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat | Cool / Heat
02 return air temperature | Required | Required | Required | Required | Required | Required | Required | Required
03 indoor coil - liquid temperature | Required | Required | Required | Required | Required | Required | Required | Required
04 indoor coil - vapour temperature | Required | Required | Required | Required | Required | Required | Required | Required
60 outdoor coil - liquid temperature | Required |  |  |  | Required
61 ambient temperature | Required |  |  |  | Required
62 compressor discharge temperature | Required |  |  |  | Required
63 compressor suction temperature | Required |  |  |  | Required
supply air temperature (HEAT & COOL) | Required | Required | Required | Required | Required | Required | Required | Required
Voltage across terminals L1-L2/L1-L3/L2-L3 | Required |  |  |  | Required
Running current | Required |  |  |  | Required
Configurable items
03 network address | TBC |  |  |  | TBC
12 outdoor number | Required |  |  |  | Required
13 indoor unit number | Required | Required | Required | Required | Required | Required | Required | Required
14 indoor unit role | Required | Required | Required | Required | Required | Required | Required | Required
19 louver functions | Required | Required | Required | Required | Required | Required | Required | Required
5d air flow correction | Required | Required | Required | Required | Required | Required | Required | Required
Comments
Note on B4: Enter full site/store name
Note on B5: Enter full site address
Note on B18: Each day may be programmed separately, with up to 3 operating periods per day - if using scheduled timer
Note on B19: The network cable should be terminated in the indoor unit with Protocol Converter fitted. The screen shall be continuous and earthed at a single point. Minimum 1.5mm² up to 500m, 2.0mm² over 500m If a Protocol Converter has not been fitted, the cable should be left with enough slack for future use.
Note on B20: A single room sensor can be added to the group wiring and will provide the temperature value for the entire group. Configuration item 32 must remain at 0000
Note on B21: To enable group auto-restart, configuration item 28 to 0001.
Note on B22: Provides operating temperature value for the entire group. Configuration item 32 must be set to 0001. If the temperature sensor is enabled, the controller must be located in a representative position.
Note on B31: Suggested breaker sizes: SM56* - 16A SM80* - 16A SM110* - 20A SM140* - 25A SM160* - 32A SM2244 - 16A SM2804 - 20A SP40* - 10A SP56* - 16A SP80* - 16A SP110* - 16A SP140* - 25A SP110*AT8 - 10A SP140*AT8 - 16A SP160*AT8 - 16A
Note on B32: if applicable
Note on B33: Both liquid and vapour lines require full insulation (0 or 1 class).
Note on B34: Check that condensate is drained effectively. Circle PUMP if an external lift pump is used.
Note on B36: Only necessary for network control. A group will only have only one protocol converter fitted within the HEADER indoor unit.
Note on B37: Mains voltage should be supplied to the outdoor unit as soon as practical to warm the compressor.
Note on B39: Pressure should be increased in 3 stages - to ensure that the leak test may be conducted safely. Strength tested to not less than 1.3 x M.W.P
Note on B40: No maximum time for the leak test but there will be no drop in pressure during a successful test. Leak tested to 1.0 - 1.1 x M.W.P
Note on B41: The vacuum required will be dependant on the average temperature of the system (halfway between indoor and outdoor temperatures) A minimum of 4 Torr (530 Pa) should be achieved in all cases however, If the average temperature is below 10ºC a vacuum of 2 Torr (400 Pa) must be achieved. 5ºC requires a vacuum of a least 3 Torr (260 Pa) When below freezing point, the system cannot be reliably dehydrated
Note on B45: When systems are installed on 'existing' R22/R407c pipe work and the suction pipe is one step larger than standard, follow the 'Existing Pipe' instructions found within installation manual.
Note on B48: The linear (actual) length of the refrigeration pipe work between the outdoor unit and the 1st 'T Piece' RAV-SM2244-2804AT-E Max total pipe run must not exceed 70m (main + longest sub + longest branch), irrespective of outdoor unit model.
Note on C48: L1- From condenser to T piece
Note on G48: L1- From condenser to T piece
Note on B49: The linear (actual) length of the refrigeration pipe work from sub pipe plus branch pipe Max total pipe run of (sub plus branch) -L2 + L4 or -L2 + L5 or -L3 + L6 or -L3 + L7 must not exceed 20m
Note on C49: L2 - From 1st T piece to 2nd T piece (left)
Note on E49: L3- from 1st T piece to 2nd T piece (right)
Note on G49: L2 - From 1st T piece to 2nd T piece (left)
Note on I49: L3- from 1st T piece to 2nd T piece (right)
Note on B50: The linear (actual) length of the refrigeration pipe work from the final 'T' Piece to the associated indoor unit. Max total pipe run of any branch pipe L4,L5,L6 or L7 must not exceed 15m Note (L4 + L2) minus (L5 + L2) or (L4 + L2) minus (L6 + L3) or (L4 + L2) minus (L7 + L3) or (L5 + L2) minus (L6 + L3) or (L5 + L2) minus (L7 + L3) or (L6 + L3) minus (L7 + L3) Must not exceed 6m
Note on C50: L4 - From final T piece to fan coil
Note on D50: L5 - From final T piece to fan coil
Note on E50: L6 - From final T piece to fan coil
Note on F50: L7 - From final T piece to fan coil
Note on G50: L4 - From final T piece to fan coil
Note on H50: L5 - From final T piece to fan coil
Note on I50: L6 - From final T piece to fan coil
Note on J50: L7 - From final T piece to fan coil
Note on B51: Calculation for RAV-SM2244AT8-E is; (Main Pipe) L1 minus 28m x 0.08 kg/m = + (Sub Pipe) L2 + L3 minus 4m x 0.04 kg/m = + (Branch Pipe) L4 + L5 + L6 + L7 x 0.02 kg/m = Additional charge =________kg Calculation for RAV-SM2804AT8-E is; (Main Pipe) L1 minus 28m x 0.08 kg/m = + (Sub Pipe) L2 + L3 minus 4m x 0.04 kg/m = + (Branch Pipe) L4 + L5 + L6 + L7 x 0.04 kg/m = Additional charge =________kg
Note on B52: Factory refrigerant charge can be found on the name plate of the outdoor unit.
Note on B53: Total system charge is the additional charge plus the factory charge.
Note on B54: To initiate Press CHECK(Test) for 4 seconds. When the controller displays TEST, use mode to select heat or cool and use UNIT to choose the system to be tested. Note - systems MUST be tested individually. Values for both heating and cooling operations should be shown. This does not provide a 100% demand. To check values during test, (after compressor operation has started), press CHECK(Test)+CLEAR(CL). Press CHECK(Test) to terminate the test.
Note on B62: The temperature (DB) of the air supplied during the cooling and heating processes. Also known as air outlet temperature.
Note on B63: This measurement should be taken while the compressor is running.
Note on B64: Input current is limited by the inverter.
Note on B65: To access: Press CHECK(Test) & SET & CL buttons for 4 seconds
Note on B66: Only necessary when network control is used. Factory default 0099 May be set from the remote controller, through configuration item 03.
Note on B67: Automatically addressed though may be changed to reflect site reference.
Note on B68: Automatic addressing - generally 0001 unless twinned indoor units are used.
Note on B69: Individual system = 0000 Control group Header = 0001 (only 1 lead unit within a group) Follower = 0002 (up to a maximum of 7 followers)